ADDENDUM NO. 1

REQUEST FOR PROPOSALS FOR ENGINEERING SERVICES

SANITARY SEWER, WATER MAIN, STORM SEWER AND STREET

IMPROVEMENTS FOR DULUTH’S RIVERSIDE COMMUNITY

BID NO. 10-0496

OCTOBER 15, 2010

NOTICE

This Addendum is issued to modify, explain or correct the original request for proposal and is hereby made part of that proposal.  The proposal due date remains unchanged.

PROJECT OVERVIEW

Include the following  storm water scope of work:

- Revision to GIS map. GIS depiction of the storm system is corrected to now show that part of the Riverside storm drainage outlets into Gogebic Creek and into storm culverts under railroad tracks.  See attached storm depiction dated  14 Oct 2010.

- Clarification to storm water scope of work.  A complete hydrologic and hydraulic study will be required for this project.  Include Gogebic Creek catchment area as part of the study.  Include requirements for culverts under railroad tracks including any licenses/agreements with the railroads that may be necessary for construction.

- The City anticipates that the area shown on the attached map where the existing storm outlet is located contains contamination.  The Consultant shall include as a separate price the cost for investigating this contamination including all necessary soils exploration and preparation of a report.  A formal response action plan, if necessary will be bid as a separate project.

- Water Quality Treatment of the riverside storm water will be required prior to discharge.  Methods for retrofitting Riverside for reductions in storm water total volume, total suspended solids, and total phosphorous shall be included in the proposal.

Available for review:

USACE Duluth Area Storm Water Study, “Hydrologic Analysis of Streams of Duluth, Minnesota”, dated November 1974. (For review in City Engineering)

GIS depiction of current estimate Gogebic Creek Catchment Area and Riverside Storm System (Information provided for estimating scope or work, all GIS information subject to consultants verification).

DESIGN FAMILIARITY

REPLACE, “A Professional Engineer(registered in the State of Minnesota with experience in engineering , preparation of state aid plans and specifications, and inspection services) must supervise all work.”

WITH, “A Professional Engineer (registered in the State of Minnesota with experience in PFA funded projects including engineering, plan preparation, inspection services and reimbursement request requirements) must supervise all work.

In the second bullet under, “The following additional qualifications and  provisions of the consultant are also required:”,  ADD  “HDPE” after  “larger”.