## Exhibit A
EXHIBIT A
BID NO. 10-xxxx JOB NO. 0768WA
HIGHLAND 1,000,000 GALLON ELEVATED WATER STORAGE TANK
Item No. | Spec No. | Description | Unit | Est. Quantity | Unit Price | Total Price
1 | SP-11 | Mobilization | LS | 1
2 | SP- | Building Permit Allowance | LS | 1
3 | SP- | Electrical Service Allowance | LS | 1
4 | 02 41 16.23 | Demolition - 100,000 gal Water Tower | LS | 1
5 | 02 41 16.23 | Demolition - 400,000 gal Water Tower | LS | 1
6 | SP-13 | Demolition - Conc. Block Building | LS | 1
7 | SP-12 | Clear & Grub Trees | Ea | 10
8 | SP-12 | Clear Brush | LS | 1
9 | SP-14 | Remove Concrete Pad | LS | 3
10 | SP-14 | Remove Conc. Vault & Valves | LS | 1
11 | SP-14 | Remove Chain Link Fence | LS | 1
12 | SP-14 | Remove Drain & Overflow Piping | LS | 1
13 | SP-24 | Abandon 10" Watermain | LS | 1
14 | SP-24 | Locate, Cut-off, & Plug 10" Watermain | LS | 1
15 | SP-24 | Abandon 6" Watermain | LS | 1
16 | SP-24 | Remove & Transfer Service to New Watermain | LS | 1
17 | SP- | Site Grading/Final Shaping | LS | 1
18 | SP- | 12" RCP Culvert | LF | 52
19 | SP- | 12" FE | Ea | 2
20 | SP- | Overflow Drain Inlet | LS | 1
21 | SP- | 15" PE Overflow Piping | LF | 50
22 | SP- | 15" FE | EA | 1
23 | SP-22 | Concrete Utility Chase | LF | 84
24 | SP-22 | Concrete Utility Chase 4'x4' Riser Manholes | EA | 2
25 | SP-22 | Concrete Utility Chase 24" Diam. Riser Manhole | EA | 1
26 | SP-27 | Bollard | EA | 2
27 | SP-24 | Cut-in 16 inch Tee | Ea | 1
28 | SP-24 | 16" BV & Box | Ea | 4
29 | SP-24 | Connect to 16 inch Watermain | EA | 1
30 | SP-24 | 16" DIP | LF | 424
31 | SP-24 | 16" 45 deg. Elbow | EA | 1
32 | SP-24 | 16" Tee | EA | 1
33 | SP-24 | 16"x6" Tee | EA | 1
34 | SP-24 | Hydrant Assembly | EA | 1
35 | SP- | Rock Excavation for Utility Construction | CY | 90
36 | SP- | Street Patching | SY | 85
37 | SP- | MnDOT Class 5 Aggregate Base Material (Driveway) | CY | 135
38 | SP-26 | Conc. Sidewalk | SY | 165
39 | SP- | 4" Draintile | LF | 400
40 | SP- | Filter Pipe | LF | 90
41 | SP- | Drain Tile Cleanouts | Ea | 5
41 | SP- | Subsurface Drain Headwalls | Ea | 2
42 | SP- | Renetion Pond | LS | 1
43 | SP-28 | Silt Fence, Machine Sliced | LF | 900
43 | SP-28 | Erosion Control Blanket | SF | 1715
44 | SP-28 | Vehicle Tracking Pad | LS | 1
45 | SP-29 | Topsoil | CY | 140
46 | SP-29 | Seed | LS | 1
47 | SP-25 | Rip-Rap, Class III | CY | 10
48 | 1404 | Traffic Control | LS | 1
49 | SP- | SCADA Building | LS | 1
50 | SP- | 1,000,000 gallon Elevated Water Storage Tank, remainder of Work | LS | 1
TOTAL

## Engineer's Estimate
BID TAB
BID NO. 10-0314 JOB NO. 0768WA
HIGHLAND 1,000,000 GALLON ELEVATED WATER STORAGE TANK
[5 empty] | ENGINEER'S ESTIMATE |  | CB & I |  | CALDWELL TANKS
Item No. | Spec No. | Description | Unit | Est. Quantity | Unit Price | Total Price | Unit Price | Total Price | Unit Price | Total Price
1 | SP-11 | Mobilization | LS | 1 | 186932 | 186932 | 150000 | 150000 | 30000 | 30000
2 | SP-32 | Building Permit Allowance | LS | 1 | 5000 | 5000 | 5000 | 5000 | 5000 | 5000
3 | SP-31 | Electrical Service Allowance | LS | 1 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000
4 | 02 41 16.23 | Demolition - 100,000 gal Water Tower | LS | 1 | 29000 | 29000 | 31000 | 31000 | 30000 | 30000
5 | 02 41 16.23 | Demolition - 400,000 gal Water Tower | LS | 1 | 46000 | 46000 | 66000 | 66000 | 40000 | 40000
6 | SP-13 | Demolition - Conc. Block Building | LS | 1 | 5000 | 5000 | 2200 | 2200 | 10000 | 10000
7 | SP-12 | Clear & Grub Trees | Ea | 10 | 600 | 6000 | 500 | 5000 | 600 | 6000
8 | SP-12 | Clear Brush | LS | 1 | 500 | 500 | 1200 | 1200 | 3000 | 3000
9 | SP-14 | Remove Concrete Pad | Ea | 3 | 200 | 600 | 1200 | 3600 | 2000 | 6000
10 | SP-14 | Remove Conc. Vault & Valves | LS | 1 | 2000 | 2000 | 1200 | 1200 | 2000 | 2000
11 | SP-14 | Remove Chain Link Fence | LS | 1 | 500 | 500 | 600 | 600 | 1000 | 1000
12 | SP-14 | Remove Drain & Overflow Piping | LS | 1 | 2000 | 2000 | 6000 | 6000 | 6000 | 6000
13 | SP-24 | Abandon 10" Watermain | LS | 1 | 1000 | 1000 | 3000 | 3000 | 3000 | 3000
14 | SP-24 | Locate, Cut-off, & Plug 10" Watermain | LS | 1 | 1500 | 1500 | 3000 | 3000 | 4000 | 4000
15 | SP-24 | Abandon 6" Watermain | LS | 1 | 1000 | 1000 | 4000 | 4000 | 5000 | 5000
16 | SP-24 | Remove & Transfer Service to New Watermain | LS | 1 | 2400 | 2400 | 3000 | 3000 | 4000 | 4000
17 | SP-18 | Site Grading/Final Shaping | LS | 1 | 3000 | 3000 | 14000 | 14000 | 15000 | 15000
18 | SP-23 | 12" RCP Culvert | LF | 52 | 60 | 3120 | 60 | 3120 | 75 | 3900
19 | SP-23 | 12" FE | Ea | 2 | 500 | 1000 | 600 | 1200 | 700 | 1400
20 | SP-23 | Overflow Drain Inlet | LS | 1 | 1500 | 1500 | 5000 | 5000 | 5000 | 5000
21 | SP-23 | 15" PE Overflow Piping | LF | 50 | 50 | 2500 | 20 | 1000 | 30 | 1500
22 | SP-23 | 15" FE | EA | 1 | 700 | 700 | 900 | 900 | 900 | 900
23 | SP-23 | Concrete Utility Chase | LF | 84 | 500 | 42000 | 300 | 25200 | 300 | 25200
24 | SP-23 | Concrete Utility Chase 4'x4' Riser Manholes | EA | 2 | 10000 | 20000 | 4100 | 8200 | 5000 | 10000
25 | SP-23 | Concrete Utility Chase 24" Diam. Riser Manhole | EA | 1 | 1500 | 1500 | 1800 | 1800 | 2000 | 2000
26 | SP-27 | Bollard | EA | 2 | 300 | 600 | 700 | 1400 | 700 | 1400
27 | SP-24 | Cut-in 16 inch Tee | Ea | 1 | 5000 | 5000 | 3500 | 3500 | 4000 | 4000
28 | SP-24 | 16" BV & Box | Ea | 4 | 2500 | 10000 | 4100 | 16400 | 4000 | 16000
29 | SP-24 | Connect to 16 inch Watermain | EA | 1 | 5000 | 5000 | 5300 | 5300 | 5000 | 5000
30 | SP-24 | 16" DIP | LF | 424 | 150 | 63600 | 150 | 63600 | 150 | 63600
31 | SP-24 | 16" 45 deg. Elbow | EA | 1 | 2000 | 2000 | 800 | 800 | 700 | 700
32 | SP-24 | 16" Tee | EA | 1 | 3335 | 3335 | 1400 | 1400 | 2000 | 2000
33 | SP-24 | 16"x6" Tee | EA | 1 | 3000 | 3000 | 1200 | 1200 | 1200 | 1200
34 | SP-24 | Hydrant Assembly | EA | 1 | 4500 | 4500 | 7100 | 7100 | 7000 | 7000
35 | SP-15 | Rock Excavation for Utility Construction | CY | 90 | 125 | 11250 | 240 | 21600 | 300 | 27000
36 | SP-20 | Street Patching | SY | 85 | 60 | 5100 | 70 | 5950 | 70 | 5950
37 | SP-19 | MnDOT Class 5 Aggregate Base Material (Driveway) | CY | 135 | 30 | 4050 | 50 | 6750 | 50 | 6750
38 | SP-26 | Conc. Sidewalk | SY | 165 | 6 | 990 | 10 | 1650 | 10 | 1650
39 | SP-22 | 4" Draintile | LF | 400 | 12 | 4800 | 20 | 8000 | 20 | 8000
40 | SP-22 | Filter Pipe | LF | 90 | 16 | 1440 | 90 | 8100 | 100 | 9000
41 | SP-22 | Drain Tile Cleanouts | Ea | 5 | 200 | 1000 | 700 | 3500 | 700 | 3500
42 | SP-22 | Subsurface Drain Headwalls | Ea | 2 | 500 | 1000 | 1800 | 3600 | 2000 | 4000
43 | SP-22 | Retention Pond | LS | 1 | 3000 | 3000 | 14100 | 14100 | 14000 | 14000
44 | SP-28 | Silt Fence, Machine Sliced | LF | 900 | 3 | 2700 | 3 | 2700 | 3 | 2700
45 | SP-28 | Erosion Control Blanket | SF | 1715 | 2 | 3430 | 1 | 1715 | 1 | 1715
46 | SP-28 | Vehicle Tracking Pad | LS | 1 | 1500 | 1500 | 3000 | 3000 | 3000 | 3000
47 | SP-29 | Topsoil | LS | 1 | 3500 | 3500 | 24000 | 24000 | 20000 | 20000
48 | SP-29 | Seed | LS | 1 | 1500 | 1500 | 5000 | 5000 | 4000 | 4000
49 | SP-25 | Rip-Rap, Class III | CY | 10 | 30 | 300 | 110 | 1100 | 100 | 1000
50 | 1404 | Traffic Control | LS | 1 | 2000 | 2000 | 2400 | 2400 | 2000 | 2000
51 | 02 55 00 | Remediation Soil Stabolization | LS | 1 | 20000 | 20000 | 18000 | 18000 | 20000 | 20000
52 | 02 61 13 | Remove Contaminated Soil | TON | 800 | 50 | 40000 | 50 | 40000 | 50 | 40000
53 | SP-38 | SCADA Building | LS | 1 | 150000 | 150000 | 116000 | 116000 | 60000 | 60000
54 | SP-39 | 1,000,000 gallon Elevated Water Storage Tank, remainder of Work | LS | 1 | 1950000 | 1950000 | 2238915 | 2238915 | 2492935 | 2492935
[5 empty] | TOTAL | 2679347 |  | 2982000 |  | 3058000