## Addendum No. 2

### April 24, 2008

PROJECT NAME/DESCRIPTION: 2008 Capital Improvements Projects

PROJECT NUMBER:  OT - 0802

BID NUMBER: 09-0237

Bid Date:  Thursday, April 30, 2009 @ 2:00 p.m.

This Addendum No. 2, issued April 24, 2009, is added to and shall become a part of the specification and drawings, dated April 2009.  Bidders shall acknowledge receipt of the Addendum on their bid form.

SPECIFICATIONS

SECTION 075300 EPDM SINGLE-PLY MEMBRANE ROOFING – ADHERED

PART 2 – PRODUCTS

D.	INSULATION MATERIALS

- Delete:  1/4 inch per 12 inches.

Replace with:  1/8 inch per 12 inches.

Add:

- Polyisocyanurate:  2.0 PCF density complying with ASTM D 1622.

DRAWINGS

Sheet LV-1  New Roof System Note:

- Replace "6-1/16 inch base insulation" with "tapered insulation to 6"+ height".

- Replace "45 mil reinforced EPDM membrane" with "60 mil EPDM membrane"

- Add note to lower 24' x 24' roof:

"New Roof System:

- 6 mil poly vapor barrier

- Sealed overlap joints

- 2 layers 1-1/2 inch base insulation

- Tapered insulation  - 1/8 inch per foot

- Tapered insulation to 3" ± height

- 1/2 inch hi-density fiber board

- 60 mil EPDM membrane

- Contractor option:  Fully adhered or mechanically fastened.

PRODUCT APPROVALS

Firestone Isoguard HD Coverboard

Hunter Polyisocyanurate

GAF Asphalt Shingles – Elk Weather Stopper – Timberline Prestique Lifetime High Definition with Golden Pledge warranty

Diamond Vogel Paint