## Addendum No. 2

### May 14, 2009

PROJECT:

Duluth Steam Cooperative Association

Coal Handling Upgrades 2009

New Bucket Elevator & Support Frames

Bid No. 09-0272

Krech Ojard & Associates

227 West 1st Street, Suite 200

Duluth, MN   55802

KOA Project No. 07-1047

Bid Date:  Wednesday, May 20, 2009, 2:00 p.m., local time.

This Addendum No. 2, issued May 14, 2009, is added to and shall become a part of the specification and drawings, dated April 2009.  Bidders shall acknowledge receipt of the Addenda on their bid form.

DRAWINGS

Sheet S1.0 General Notes, Owner Provided Conditions (Not in Contract)

E.	Electrical reconnection from building to elevator

Add:  "Electrical disconnect will be completed by the Owner and will not be included in Contractor's work."

Elevator Elevation 3/S1.0

The 3" diameter dry standpipe provided by the Owner will be provided in 20 foot maximum flanged sections.

Elevator Elevation 1/S1.0

Existing bucket elevator and enclosure Removal – As the basis for bidding, assume there is no lead paint on the existing elevator and enclosure.

CLARIFICATION

No permit will be required for this work.