City of Duluth

department of public works/utilities

Engineering Division

211 City Hall  Duluth MN  55802

(218) 730-5200    Fax: (218) 730-5907

May 15, 2009

City of Duluth Bid #09-0331

2009 SIP – Lakeside Lower Central

City Project No. 0218TR

Addendum #2

Bid Form:

N/A

Specifications:

N/A

Plansheets:

Structure types indicated on Sheets 25-27 shall be superseded by those indicated on Chart K, Sheet 21.

Sheet 25 - F/L in on Structure 103B shall be 724.20.

Structure 107C shall not have an opening to the south

All other items remain the same.  Please acknowledge receipt of this addendum in the space provided on the bid form.

Sincerely,

Matt Decur

Project Manager