## Sheet1
Bid Tabulation
Job No.: 1075 (High Pressure Gas Mains & Services at Various City Locations)
Bid No.: 12-0207
|  |  |  | Bid Date: March 28, 2012 | Hanco |  | NPL |  | Q3 Contracting,
[5 empty] | Utilities |  | Construction Co. |  | Inc.
Item | Spec. |  | U/ |  | Unit | Total | Unit | Total | Unit | Total
No. | No. | Qty. | OM | Item | Price | Price | Price | Price | Price | Price
1 | 2021.501 | 1 | LS | Mobilization | 15000 | 15000 | 0 | 0 | 5000 | 5000
2 | 2104.501 | 200 | Lin Ft | Remove PE Gas Main | 4 | 800 | 5 | 1000 | 5 | 1000
3 | 2104.501 | 300 | Lin Ft | Remove Steel Gas Main Less than 6" | 4 | 1200 | 6 | 1800 | 12.5 | 3750
4 | 2104.501 | 100 | Lin Ft | Remove Steel Gas Main 6" & Larger | 4 | 400 | 8 | 800 | 25 | 2500
5 | 2451.603 | 75 | Cu Yd | Granular Backfill (LV) | 16 | 1200 | 23 | 1725 | 19.88 | 1491
6 | 2451.601 | 15 | Cu Yd | Boulder Excavation (Trench) | 75 | 1125 | 62.33 | 934.95 | 65 | 975
7 | 2451.601 | 15 | Cu Yd | Rock Excavation (Trench) | 250 | 3750 | 252 | 3780 | 262.5 | 3937.5
8 | 2505.602 | 50 | Each | Building Inspection | 80 | 4000 | 78 | 3900 | 81.25 | 4062.5
9 | 2505.602 | 20 | Each | Televising of Sanitary or Storm Sewer Lateral | 125 | 2500 | 288 | 5760 | 175 | 3500
10 | 2505.602 | 15 | Each | Location of Sanitary or Storm Sewer Lateral by Sonde Method | 75 | 1125 | 228 | 3420 | 237.5 | 3562.5
11 | 2505.602 | 15 | Each | Excavation for Potholing Sanitary or Storm Sewer Lateral, 0" - 7" Deep | 250 | 3750 | 330 | 4950 | 345 | 5175
12 | 2505.602 | 10 | Each | Excavation for Potholing Sanitary or Storm Sewer Lateral, 7" - 10" Deep | 350 | 3500 | 390 | 3900 | 410 | 4100
13 | 2505.602 | 4 | Each | Furnish & Install Meter Connections (Size Less than 400 CFH) | 550 | 2200 | 804 | 3216 | 837.5 | 3350
14 | 2505.602 | 12 | Each | Furnish & Install Meter Connections (Size 400 CFH or Greater) | 800 | 9600 | 804 | 9648 | 1100 | 13200
15 | 2505.602 | 5 | Each | Furnish & Install 3" PE Valve & Valve Box (No Excavation) | 375 | 1875 | 378 | 1890 | 395 | 1975
16 | 2505.602 | 15 | Each | Furnish & Install 2" PE Valve & Valve Box (No Excavation) | 250 | 3750 | 330 | 4950 | 345 | 5175
17 | 2505.602 | 25 | Each | Furnish & Install 1" PE Valve & Valve Box (No Excavation) | 175 | 4375 | 255.6 | 6390 | 270 | 6750
18 | 2505.602 | 30 | Each | Reconnect Existing PE Services to New Main | 255 | 7650 | 292.8 | 8784 | 450 | 13500
19 | 2505.602 | 10 | Each | Excavation for Cut-Off of HP Gas Main or Gas Service (Department | 475 | 4750 | 457.2 | 4572 | 480 | 4800
to Furnish & Install Cut-Off Materials)
20 | 2505.602 | 230 | Each | Excavation for Connecting HP Gas Service to Gas Main or | 400 | 92000 | 522 | 120060 | 545 | 125350
Connecting New HP Gas Main to Existing Gas Main
21 | 2505.602 | 2 | Each | Emergency Repair of Gas Line | 1000 | 2000 | 2280 | 4560 | 2500 | 5000
22 | 2505.603 | 300 | Lin Ft | Furnish & Install 8" PE Gas Main with Granular Encasement | 25 | 7500 | 50 | 15000 | 32 | 9600
23 | 2505.603 | 200 | Lin Ft | Furnish & Install 8" PE Gas Main by Horizontal Directional Drill | 30 | 6000 | 55 | 11000 | 42.5 | 8500
24 | 2505.603 | 300 | Lin Ft | Furnish & Install 6" PE Gas Main with Granular Encasement | 20 | 6000 | 40 | 12000 | 25 | 7500
25 | 2505.603 | 300 | Lin Ft | Furnish & Install 6" PE Gas Main by Horizontal Directional Drill | 25 | 7500 | 45 | 13500 | 39.75 | 11925
26 | 2505.603 | 1000 | Lin Ft | Furnish & Install 3" PE Gas Main | 17 | 17000 | 18.44 | 18440 | 19.25 | 19250
27 | 2505.603 | 3000 | Lin Ft | Furnish & Install 3" PE Gas Main by Horizontal Directional Drill | 17 | 51000 | 24.17 | 72510 | 25.25 | 75750
28 | 2505.603 | 3000 | Lin Ft | Furnish & Install 2" PE Gas Main | 13 | 39000 | 15.26 | 45780 | 16 | 48000
29 | 2505.603 | 3500 | Lin Ft | Furnish & Install 2" PE Gas Main by Horizontal Directional Drill | 14 | 49000 | 22.9 | 80150 | 23.85 | 83475
30 | 2505.603 | 1500 | Lin Ft | Furnish & Install 1" PE Gas Main | 12 | 18000 | 13.36 | 20040 | 13.95 | 20925
31 | 2505.603 | 900 | Lin Ft | Furnish & Install 1" PE Gas Service | 10 | 9000 | 13.36 | 12024 | 14.5 | 13050
32 | 2505.603 | 600 | Lin Ft | Furnish & Install 1" or 1/2" PE Gas Service by Horizontal Directional Drill | 12 | 7200 | 17.81 | 10686 | 18.55 | 11130
33 | 2505.603 | 8000 | Lin Ft | Furnish & Install 1/2" PE Gas Service | 9 | 72000 | 10.81 | 86480 | 11.25 | 90000
FOND DU LAC GAS MAIN EXTENSIONS ONLY
34 | 2021.501 | 1 | LS | Mobilization | 386 | 386 | 0 | 0 | 5000 | 5000
35 | 2502.602 | 6 | Each | Building Inspection | 60 | 360 | 78 | 468 | 81.25 | 487.5
36 | 2505.602 | 3 | Each | Televising of Sanitary or Storm Sewer Lateral | 100 | 300 | 288 | 864 | 175 | 525
37 | 2505.602 | 3 | Each | Location of Sanitary or Storm Sewer Lateral by Sonde Method | 50 | 150 | 228 | 684 | 237.5 | 712.5
38 | 2505.602 | 20 | Each | Excavation for Potholing Sanitary or Storm Sewer Lateral, 0" - 7" Deep | 200 | 4000 | 330 | 6600 | 345 | 6900
39 | 2505.602 | 4 | Each | Excavation for Potholing Sanitary or Storm Sewer Lateral, 7" - 10" Deep | 350 | 1400 | 390 | 1560 | 410 | 1640
40 | 2505.602 | 1 | Each | Furnish & Install 3" PE Valve & Valve Box (No Excavation) | 375 | 375 | 378 | 378 | 395 | 395
41 | 2505.602 | 3 | Each | Furnish & Install 2" PE Valve & Valve Box (No Excavation) | 250 | 750 | 330 | 990 | 345 | 1035
42 | 2505.602 | 5 | Each | Excavation for Connecting HP Gas Service to Gas Main or | 500 | 2500 | 522 | 2610 | 545 | 2725
Connecting New HP Gas Main to Existing Gas Main
43 | 2505.603 | 5050 | Lin Ft | Furnish & Install 3" PE Gas Main | 13 | 65650 | 18.44 | 93122 | 19.25 | 97212.5
44 | 2505.603 | 4000 | Lin Ft | Furnish & Install 3" PE Gas Main by Horizontal Directional Drill | 13 | 52000 | 24.17 | 96680 | 25.25 | 101000
45 | 2505.603 | 2200 | Lin Ft | Furnish & Install 2" PE Gas Main | 10 | 22000 | 15.26 | 33572 | 16 | 35200
46 | 2505.603 | 2000 | Lin Ft | Furnish & Install 2" PE Gas Main by Horizontal Directional Drill | 10 | 20000 | 22.9 | 45800 | 23.85 | 47700
47 | 2563.601 | 1 | LS | Traffic Control | 1000 | 1000 | 2000 | 2000 | 2500 | 2500
|  |  |  | TOTALS |  | 626621 |  | 878977.95 |  | 920291