REQUEST FOR BID          RETURN BY BID OPENING TIME TO:

Date  12/06/12

BID # 13-0012            PURCHASING DIVISION

100 City Hall

411 W 1st Street

Duluth, MN  55802

Liquid Chlorine         Buyer: Dennis Sears

PHONE: (218) 730-5003

FAX:   (218) 730-5922

BID OPENING AT 2:00PM ON Thursday, December 27, 2012

NOTE: All bids must be written, signed and transmitted in a sealed envelope,

plainly marked with the bid number, subject matter and opening date.  The City

of Duluth reserves the right to split award where there is a substantial

savings to the City, waive informalities and to reject any and all bids.

Bidder should state in proposal if bid price is based on acceptance of total

order.  Sales tax is not to be included in the unit price.  Bidder to state

freight charges if, the proposal F.O.B. is shipping point, freight not allowed.

Low bid will not be the only consideration for award of bid.  All pages shall

be signed or initialed by authorized bidder's representative as indicated at

the bottom of the page(s) of the request for bid forms.

RETURN BID IN DUPLICATE WITH DUPLICATE DESCRIPTIVE LITERATURE

FOR BID RESULTS, ENCLOSE A SELF-ADDRESSED, STAMPED ENVELOPE WITH BID.    	           www.ci.duluth.mn.us/city/services/purchasing

-------------------------------------------------------------

Designated F.O.B. Point:

Water & Gas Department              	   Tax: Federal Excise Tax Exemption

Lakewood Water Treatment Plant               Account No.  41-74-0056 K

8130 Congdon Blvd

Duluth, MN 55804

-------------------------------------------------------------------------------

Item    Qty  U/OM        Description                           Unit       Total

Nbr                                                            Price      Price

-------------------------------------------------------------------------------

Liquid Chlorine per attached specs

Valid: January 1 thru December 31, 2013

(See additional page(s))

Vendor EMail Addr:______________________

FREIGHT CHARGES $ _______________

NAME   _________________________________      TOTAL BID PRICE $ _______________

ADDR1  _________________________________      TO INCLUDE ANY ADDITIONAL PAGES.

ADDR2  _________________________________

ADDR3  _________________________________      PAYMENT TERMS: __________________

BY:_____________________________________      F.O.B.  POINT: __________________

(Print)             Title

________________________________________      DELIVERY DATE: __________________

(Signature)            Tele #

The City of Duluth is an Equal Opportunity employer.

C I T Y   O F   D U L U T H                 Page 2 of 2

Date  12/06/12

BID # 13-0012

-------------------------------------------------------------------------------

Item    Qty  U/OM        Description                           Unit       Total

Nbr                                                           Price      Price

-------------------------------------------------------------------------------

001      50  Ton  Liquid Chlorine: Cl2                     $_______ $__________

~~~~~~~~~~~~~~~

Per City of Duluth Specification Below

****************************************                                                                                                                          			Chlorine:          Min 99.7% by volume

Moisture:          Max 0.0100% by wt

Nonvolatile

Matter:

(@45 deg C)      Max 0.0030% by wt

****************************************

Material must meet latest AWWA standard B301

Material Safety Data Sheet REQUIRED with

the bid.

Price to:

- include all delivery charges

(stipulate any fuel surcharge applicable per load) $______ or ______%

2) remain firm 1/1 - 12/31/2013

Stipulate any Hazmat fee applicable per load $ ______

Delivery: To be delivered as needed to

the Lakewood Water Treatment

Plant, 8130 Congdon Blvd.,

Duluth, MN in shipments of

ONE (1) TON CONTAINERS.

NOTE: This purchase will be valid upon

the City Council passage of the

2012 budget and a 30 day waiting

period as required by ordinance.

PO may not be issued until January

and notification will be by vendor

providing SASE for bid tabulation.

Delivery Contact: Lakewood Water Treatment

Plant, Mark Proulx, Plant

Supervisor, 952-240-2023

___________

(Initial)