Page 1

REQUEST FOR BID        RETURN BY OPENING TIME TO:

Date: 07/16/13         Purchasing Division

Bid 13-22DS            RM 100 City Hall

411 West 1st Street

Duluth, MN 55802

Radisson Library Skywalk Tunnel

Buyer: Dennis Sears

Phone: 218-730-5003

Fax:   218-730-5922

BID OPENING, RM 100 AT 2:00 PM ON Tuesday, July 30, 2013

Note: All bids must be written, signed, and transmitted in a sealed envelope, plainly marked with the bid number, subject matter, and opening date. The City of Duluth reserves the right to split award where there is substantial savings to the city, waive informalities and to reject any and all bids. Bidder should state in proposal if bid is based on acceptance of total order. Sales tax is not to be included in the unit price. Bidder to state freight charges if, proposal is F.O.B. shipping point, freight not allowed. Low bid will not be the only consideration for award of bid. All pages must be signed or initialed by authorized bidder’s representative as indicated at the bottom of the page(s) of the request for bid.

OFFICIAL SEALED BID

Designated F.O.B. Point

Tax: Federal Excise Tax Exemption

Account No. 41-74-0056 K

----------------------------------------------------------------------

Item   Qty   U/OM          Description                 Unit     Total

No.                                                   Price    Price

----------------------------------------------------------------------

Please provide a quote for repair work

to the skywalk tunnel system connecting

between the Radisson Hotel and the

Duluth Public Library per the attached

scope and work specifications and

drawings. Please break out quote as

specified.

A walk through Thursday, 7/18/13 9 AM.

Plans to be provided then. If not

convenient, contact Rob Hurd at 218-626-5130

for appointment.

Vendor E-mail Address_________________________ Freight Charges    N/A

Name____________________                     Total Bid Price ________

Addr____________________               (To include any additional pages)

____________________

____________________                     Payment Terms ___________

By:_______________________                   F.O.B. Point  Dest.

(print title)

__________________________                   Delivery Date  N/A

(signature)    (tele#)

Pg 2

Scope of Work:                                           Cost

Replace sheetrock, tape, paint                    _________

Sheetrock-installed with flat finish

Paint-Sherwin Williams super paint White

Flour SW 7102 interior semi-gloss

Rehang existing hand rails on site.               _________

Replace ceiling vent with new and equal one.      _________

Modify framing                                    _________

Modify framing at middle set of tunnel doors

to work with suspended ceiling.

Frame the ceiling flat at the east entrance

doors on the Superior Street level.

Frame smoke curtain in front of elevator on

the Superior Street level.

Add 2’ x 2’ metal ceiling access panels per

Instructions in walk through.

Linear Metal Ceilings                              _________

Areas that had linear metal ceilings are to be

replaced with 2’ x 2’ acoustical suspended

ceilings.

Ceiling tile is to be USG white shadowline taper

Astro.

Electrical (state if sub is used and provide name) _________

Sub: yes______  Sub Name ____________________

See lights to be used and light plan attached.

Lighting notes: If an emergency circuit does

not exist for the Tunnel application, the EM

option should be considered for the Type A

luminaires.

The Type B luminaire has already been procured

by the City of Duluth for construction purposes.

The Type C luminaire has not been selected and

is being bid as a $1000 allowance.

The attached COD Skywalk Tunnel references the

complete lighting BMO for bid purposes.

Pg 3

Vinyl Cove Base                                    _________

6” in a color that best matches the quarry floor.

Permits

All permits to be pulled by the City of Duluth

Total Bid  _________

(Carry to front page)

BONDS AND INSURANCE (see instructions attached)

A 5% bid bond or bid check must accompany bid.

A Current Certificate of Insurance must be on file

in the Purchasing office.

Performance and Payment Bonds will be required.