CITY OF DULUTH

PURCHASING DIVISION

Room 100 City Hall

411 West First Street

Duluth, Minnesota  55802-1199

218/730-5340 	218/730-5922 FAX

Addendum #1

13-0531 Medical District and Tech Village LED Ramp Lighting

This addendum to the above mentioned bids serves to notify bidders that the following fixture has been preapproved as an acceptable lighting fixture.

Please add the Beacon EDR 24NB-55 4K T5W UNV BW with Lifeshield Thermal Protection to the list of qualified LED fixtures.

All fixtures should include dimming drivers and comply with IEEE/Ansi 62.41-2002 Category C2 for surge protection.

Both these bids will be due at 2 PM, Wednesday, September 18th, 2013

There are no other changes to these bids.

Please make a copy of this addendum, sign and return with your bid.

Thank you.

Dennis Sears, Purchasing Agent