SECTION 04 2000

UNIT MASONRY

PART 1  GENERAL

1.01	SECTION INCLUDES

A.	Concrete Block.

B.	Mortar and Grout.

C.	Reinforcement and Anchorage.

D.	Flashings.

E.	Accessories.

1.02	RELATED REQUIREMENTS

A.	Section 07 92 00 - Joint Sealers:  Backing rod and sealant at control and expansion joints.

1.03	REFERENCE STANDARDS

A.	ACI 530/530.1/ERTA - Building Code Requirements and Specification for Masonry Structures; American Concrete Institute International; 2009.

B.	ASTM A82/A82M - Standard Specification for Steel Wire, Plain, for Concrete Reinforcement; 2007.

C.	ASTM A153/A153M - Standard Specification for Zinc Coating (Hot-Dip) on Iron and Steel Hardware; 2009.

D.	ASTM A641/A641M - Standard Specification for Zinc-Coated (Galvanized) Carbon Steel Wire; 2009a.

E.	ASTM C90 - Standard Specification for Loadbearing Concrete Masonry Units; 2011.

F.	ASTM C144 - Standard Specification for Aggregate for Masonry Mortar; 2004.

G.	ASTM C150 - Standard Specification for Portland Cement; 2011.

H.	ASTM C207 - Standard Specification for Hydrated Lime for Masonry Purposes; 2006.

I.	ASTM C270 - Standard Specification for Mortar for Unit Masonry; 2010.

J.	ASTM C404 - Standard Specification for Aggregates for Masonry Grout; 2007.

K.	ASTM C744 - Standard Specification for Prefaced Concrete and Calcium Silicate Masonry Units; 2011.

L.	ASTM D4637 - Standard Specification for EPDM Sheet Used in Single-Ply Roof Membrane; 2010.

1.04	ADMINISTRATIVE REQUIREMENTS

A.	Pre-installation Meeting:  Convene a pre-installation meeting one week before starting work of this section; require attendance by all relevant installers.

1.05	SUBMITTALS

A.	See Section 01 3000 - Administrative Requirements, for submittal procedures.

B.	Product Data:  Provide data for masonry units, fabricated wire reinforcement, mortar, and masonry accessories.

C.	Manufacturer's Certificate:  Certify that masonry units meet or exceed specified requirements.

D.	Maintenance Materials:  Furnish the following for Owner's use in maintenance of project.

1.	See Section 01 6000 - Product Requirements, for additional provisions.

1.06	QUALITY ASSURANCE

A.	Comply with provisions of ACI 530/530.1/ERTA, except where exceeded by requirements of the contract documents.

1.07	DELIVERY, STORAGE, AND HANDLING

A.	Deliver, handle, and store masonry units by means that will prevent mechanical damage and contamination by other materials.

PART 2  PRODUCTS

2.01	CONCRETE MASONRY UNITS

A.	Concrete Block:  Comply with referenced standards and as follows:

1.	Size:  Standard units with nominal face dimensions of 16 x 8 inches and nominal depth of 8 inches.

2.	Special Shapes:  Provide non-standard blocks configured for corners and end wall locations.

3.	Substitutions:  See Section 01 60 00 - Product Requirements.

2.02	MORTAR AND GROUT MATERIALS

A.	Portland Cement:  ASTM C150, Type I; color as required to produce approved color sample.

B.	Hydrated Lime:  ASTM C207, Type S.

C.	Mortar Aggregate:  ASTM C144.

D.	Grout Aggregate:  ASTM C404.

E.	Water:  Clean and potable.

F.	Moisture-Resistant Admixture:  Water repellent compound designed to reduce capillarity.

2.04	REINFORCEMENT AND ANCHORAGE

A.	Manufacturers of Joint Reinforcement and Anchors:

1.	Blok-Lok Limited:  www.blok-lok.com.

2.	Hohmann & Barnard, Inc (including Dur-O-Wal brand):  www.h-b.com.

3.	WIRE-BOND:  www.wirebond.com.

4.	Substitutions:  See Section 01 60 00 - Product Requirements.

B.	Joint Reinforcement:  Use ladder type joint reinforcement where vertical reinforcement is involved and truss type elsewhere, unless otherwise indicated.

C.	Flexible Anchors:  2-piece anchors that permit differential movement between masonry and building frame, sized to provide not more than 1 inch and not less than 1/2 inch of mortar coverage from masonry face.

1.	Concrete frame:  Dovetail anchors of bent steel strap, nominal 1 inch width x 0.024 in thick, with trapezoidal wire ties 0.1875 inch thick, hot dip galvanized to ASTM A 153/A 153M, Class B.

2.05	FLASHINGS

A.	EPDM Flashing:  ASTM D4637, Type II, 0.040 inch thick.

2.06	ACCESSORIES

A.	Preformed Control Joints:  Rubber material.  Provide with corner and tee accessories, fused joints.

1.	Manufacturers:

a.	Blok-Lok Limited:  www.blok-lok.com.

b.	Hohmann & Barnard, Inc (including Dur-O-Wal brand):  www.h-b.com.

c.	WIRE-BOND:  www.wirebond.com.

d.	Substitutions:  See Section 01 60 00 - Product Requirements.

B.	Cleaning Solution:  Non-acidic, not harmful to masonry work or adjacent materials.

2.07	MORTAR AND GROUT MIXES

A.	Mortar for Unit Masonry:  ASTM C270, using the Proportion Specification.

1.	Exterior, non-loadbearing masonry:  Type N.

2.	Interior, non-loadbearing masonry:  Type O.

B.	Admixtures:  Add to mixture at manufacturer's recommended rate and in accordance with manufacturer's instructions; mix uniformly.

C.	Mixing:  Use mechanical batch mixer and comply with referenced standards.

PART 3  EXECUTION

3.01	EXAMINATION

A.	Verify that field conditions are acceptable and are ready to receive masonry.

B.	Verify that related items provided under other sections are properly sized and located.

C.	Verify that built-in items are in proper location, and ready for roughing into masonry work.

3.02	PREPARATION

A.	Direct and coordinate placement of metal anchors supplied for installation under other sections.

B.	Provide temporary bracing during installation of masonry work.  Maintain in place until building structure provides permanent bracing.

3.03	COLD AND HOT WEATHER REQUIREMENTS

A.	Comply with requirements of ACI 530/530.1/ERTA or applicable building code, whichever is more stringent.

3.04	COURSING

A.	Establish lines, levels, and coursing indicated.  Protect from displacement.

B.	Maintain masonry courses to uniform dimension.  Form vertical and horizontal joints of uniform thickness.

C.	Concrete Masonry Units:

1.	Bond:  Running.

2.	Mortar Joints:  Concave.

3.05	PLACING AND BONDING

A.	Lay hollow masonry units with face shell bedding on head and bed joints.

B.	Buttering corners of joints or excessive furrowing of mortar joints is not permitted.

C.	Remove excess mortar and mortar smears as work progresses.

D.	Remove excess mortar with water repellent admixture promptly.  Do not use acids, sandblasting or high pressure cleaning methods.

E.	Interlock intersections and external corners.

F.	Do not shift or tap masonry units after mortar has achieved initial set.  Where adjustment must be made, remove mortar and replace.

G.	Perform job site cutting of masonry units with proper tools to provide straight, clean, unchipped edges.  Prevent broken masonry unit corners or edges.

H.	Isolate top joint of masonry partitions from horizontal structural framing members and slabs or decks with compressible joint filler.

3.06	REINFORCEMENT AND ANCHORAGE - GENERAL

A.	Unless otherwise indicated on drawings or specified under specific wall type, install horizontal joint reinforcement 16 inches on center.

B.	Place masonry joint reinforcement in first and second horizontal joints above and below openings.  Extend minimum 16 inches each side of opening.

C.	Place continuous joint reinforcement in first and second joint below top of walls.

D.	Lap joint reinforcement ends minimum 6 inches.

E.	Fasten anchors to structural framing and embed in masonry joints as masonry is laid.  Unless otherwise indicated on drawings or closer spacing is indicated under specific wall type, space anchors at maximum of 36 inches horizontally and 24 inches vertically.

3.07	MASONRY FLASHINGS

A.	Whether or not specifically indicated, install masonry flashing to divert water to exterior at all locations where downward flow of water will be interrupted.

1.	Extend flashings full width at such interruptions and at least 4 inches into adjacent masonry or turn up at least 4 inches to form watertight pan at non-masonry construction.

2.	Remove or cover protrusions or sharp edges that could puncture flashings.

3.	Seal lapped ends and penetrations of flashing before covering with mortar.

B.	Extend EPDM flashings to within 1/4 inch of exterior face of masonry.

C.	Lap end joints of flashings at least 4 inches and seal watertight with mastic or elastic sealant.

3.08	CONTROL AND EXPANSION JOINTS

A.	Do not continue horizontal joint reinforcement through control and expansion joints.

B.	Install preformed control joint device in continuous lengths.  Seal butt and corner joints in accordance with manufacturer's instructions.

3.09	BUILT-IN WORK

A.	As work progresses, install items to be built into the work and furnished under other sections.

B.	Install built-in items plumb, level, and true to line.

C.	Bed anchors in adjacent mortar joints.

1.	Fill adjacent masonry cores with grout minimum 12 inches installed items.

D.	Do not build into masonry construction organic materials that are subject to deterioration.

3.10	TOLERANCES

A.	Maximum Variation From Unit to Adjacent Unit:  1/16 inch.

B.	Maximum Variation from Plane of Wall:  1/4 inch in 10 ft and 1/2 inch in 20 ft or more.

C.	Maximum Variation from Plumb:  1/4 inch per story non-cumulative; 1/2 inch in two stories or more.

D.	Maximum Variation from Level Coursing:  1/8 inch in 3 ft and 1/4 inch in 10 ft; 1/2 inch in 30 ft.

E.	Maximum Variation of Joint Thickness:  1/8 inch in 3 ft.

F.	Maximum Variation from Cross Sectional Thickness of Walls:  1/4 inch.

3.14	CLEANING

A.	Remove excess mortar and mortar droppings.

B.	Replace defective mortar.  Match adjacent work.

C.	Clean soiled surfaces with cleaning solution.

D.	Use non-metallic tools in cleaning operations.

3.15	PROTECTION

A.	Without damaging completed work, provide protective boards at exposed external corners that are subject to damage by construction activities.

END OF SECTION 04 2000