REQUEST FOR BID          RETURN BY BID OPENING TIME TO:

Date 11/20/13

BID #14-0008             PURCHASING DIVISION

100 City Hall

411 W 1st Street

Duluth, MN  55802

Aluminum Sulfate                 Buyer: Dennis Sears

PHONE: (218) 730-5003

FAX:   (218) 730-5922

BID OPENING AT 2:00PM ON Wednesday, December 11, 2013

NOTE: All bids must be written, signed and transmitted in a sealed envelope,

plainly marked with the bid number, subject matter and opening date.  The City

of Duluth reserves the right to split award where there is a substantial

savings to the City, waive informalities and to reject any and all bids.

Bidder should state in proposal if bid price is based on acceptance of total

order.  Sales tax is not to be included in the unit price.  Bidder to state

freight charges if, the proposal F.O.B. is shipping point, freight not allowed.

Low bid will not be the only consideration for award of bid.  All pages shall

be signed or initialed by authorized bidder's representative as indicated at

the bottom of the page(s) of the request for bid forms.

RETURN BID IN DUPLICATE WITH DUPLICATE DESCRIPTIVE LITERATURE

FOR BID RESULTS, ENCLOSE A SELF-ADDRESSED, STAMPED ENVELOPE WITH BID.    	          www.ci.duluth.mn.us/city/services/purchasing

-------------------------------------------------------------

Designated F.O.B. Point:

Water & Gas Department                       Tax: Federal Excise Tax Exemption

Lakewood Water Treatment Plant               Account No.  41-74-0056 K

8130 Congdon Blvd

Duluth, MN 55804

-------------------------------------------------------------------------------

Item    Qty  U/OM        Description                           Unit       Total

Nbr                                                            Price      Price

-------------------------------------------------------------------------------

Liquid Aluminum Sulfate

Valid: January 1 thru December 31, 2014

001  125000 Gal  50% Liquid Aluminum Sulfate, 17% AL,      $________ $__________

179 Al 203 Basis (19% Aluminum Oxide Basis)

***************************************

(See additional page(s))

Vendor EMail Addr:______________________      FREIGHT CHARGES $ _______________

NAME   _________________________________      TOTAL BID PRICE $ _______________

ADDR1  _________________________________      TO INCLUDE ANY ADDITIONAL PAGES.

ADDR2  _________________________________

ADDR3  _________________________________      PAYMENT TERMS: __________________

BY:_____________________________________      F.O.B.  POINT: __________________

(Print)             Title

________________________________________      DELIVERY DATE: __________________

(Signature)            Tele #

The City of Duluth is an Equal Opportunity employer.

C I T Y   O F   D U L U T H                 Page 2 of 3

Date 11/20/13

BID #14-0008

-------------------------------------------------------------------------------

Item    Qty  U/OM        Description                           Unit       Total

Nbr                                                           Price      Price

-------------------------------------------------------------------------------

Ingredients:                   %

~~~~~~~~~~~                ~~~~~

Aluminum sulfate          48.5%

Al2(SO4)3

Water (H2O)                51.5%

General Characteristics

~~~~~~~~~~~~~~~~~~~~~~~

* Chemical formula: Al2(SO4)3 in

solution

* Appearance:       clear, slightly

buff to amber liquid

* Dry Weight:       1 liter weighs 1.32

kg and contains the

equivalent of 0.65

kg dry aluminum

sulfate (alum)

1 imperial gallon

weighs 13.2 lb and

contains the equi-

valent of 6.5 lb dry

aluminum sulfate

(alum)

Chemical Analysis      % by weight

~~~~~~~~~~~~~~~~~  Typical/Specification

* Aluminum -          8.3     8.0 min

total available

as Al2O3

* Iron -              0.0035  ---

total as Fe2O3

* Insoluble           0.002   0.07 max

Solutions

* Basicity            0.20    basic

Price per US gallon            $ _______

Price per ton                  $ _______

List Manufacturer:  ____________________

Weight/Gallon:      _________________/lb

Dry Weight/Gallon:  _________________/lb

(See additional page(s))

___________

(Initial)

C I T Y   O F   D U L U T H                 Page 3 of 3

Date 11/20/13

BID #14-0008

-------------------------------------------------------------------------------

Item    Qty  U/OM        Description                           Unit       Total

Nbr                                                            Price      Price

-------------------------------------------------------------------------------

Delivery in Tank trucks to the Lakewood

Treatment Plant on an as needed basis

for one year - (1-1-14 thru 12-31-14).

The Aluminum Sulfate must comply with

latest AWWA standard #B403. The legal weight

ticket must accompany each load to show

the net weight of Aluminum Sulfate.

Current Material Safety Data Sheets

(OSHA #20) MUST BE COMPLETED & RETURNED

WITH THE BID.

Deliver in highway tank trucks to the

Water Treatment Plant, 8130 Congdon

Blvd., Duluth, MN 55804.

List typical shipment weight: __________

Price to:

1) INCLUDE all delivery charges

2) REMAIN FIRM 1/1 - 12/31/2014

NOTE: This purchase will be valid upon

the City Council passage of the

2014 budget and a 30 day waiting

period as required by ordinance.

PO may not be issued until January

and notification will be by vendor

providing SASE for bid tabulation.

Delivery Contact: Lakewood Water Treatment,

Mark Proulx, Plant Supervisor

952-240-2023

___________

(Initial)