CITY OF DULUTH

PURCHASING DIVISION

Room 100 City Hall

411 West First Street

Duluth, Minnesota  55802-1199

218/730-5340 	218/730-5922 FAX

Addendum #3

14-11DS Fire Station #1 Exterior Renovations

DATE:		June 6, 2014

PROJECT:	Exterior Renovation of Fire Station #1

Duluth, MN

City of Duluth project #:	14-06-TR

City of Duluth Bid #:	14-11DS

OWNER:	City Of Duluth

ARCHITECT:	TKDA

11 E Superior St., Suite 340

Duluth, MN 55802

TO:	Prospective Bidders

This Addendum modifies Bid Set dated May 20, 2014 with amendments and additions noted below.

This Addendum consists of 2 (two) pages and the following:

- Sign-in sheet from Pre-Bid Walk-thru held on June 3 at 2pm.

CHANGES TO THE PROJECT MANUAL

- 07 41 00 Metal Wall Panels

  - Section 2.1.D – Change “metal hat channels” to “1-1/2” metal studs”

  - Section 2.1.G - Delete

CHANGES TO THE DRAWINGS

a100  Floor Plans

- Detail A3/A100 - Replace references to “12” prefinished mitered corner piece at outside corner” with “prefinished metal corner panel at all outside corners”

a200  Exterior Elevations

- Replace references to “12” prefinished mitered corner piece at outside corner” with “prefinished metal corner panel at all outside corners”

a200  Exterior Elevations

- Roof Guardrail Notes: (note is located below detail callout B1/A200 West Elevation) are to be modified to read as follows:

  - Remove existing Guardrail from roof at south elevation (delete this reference, railing is to remain in place)

  - Provide Weld new horizontal steel tube guardrail extension with vertical support posts to existing rail. Weld or mechanically fasten guardrail extention to top of existing rail. Locate top horizontal rail such that bolted connection to existing wall stands clear of existing control joint – refer to cover sheet photo.

  - Sandblast Prep and paint existing guardrail assembly in place and reinstall.

APPROVAL OF ADDITIONAL PRODUCTS / SYSTEMS

Note: The following materials and/or equipment are approved contingent upon full compliance with the Specifications and Drawings.  Listing approvals below does not imply that the Drawings and/or specifications are modified to lessen the quantity or quality of the materials and/or specified.

Section	Manufacturer

07 27 00	Firestone Delta Series CFP wall panel

END OF DOCUMENT