ADDENDUM #2

RETAINING WALL REPAIR AT 1720 NEW STREET & 2305 W. 4TH STREET

CITY OF DULUTH

PROJECT No. 1303/1308

BID No. 15-0202

May 27, 2015

NOTICE

This Addendum is issued to modify, explain or correct the original drawings, specifications and/or previous addenda and is hereby made a part of the Contract Documents.  Please attach this Addendum to the specification and note receipt of this Addendum on the Request for Bid.

DRAWINGS

Substitute the attached 1720 New Street Retaining Wall Civil Plan, Project 1303, dated May 22, 2015, for the original issued Civil Plan dated April 29, 2015.

- Plans add three pay items, delete two pay items  and revise one quantity (Statement of Estimated Quantities, Plan Sheet C4),

- wall length is shortened to 26 lineal feet on Plan Sheet C7, and

- there are changes to Section on Plan Sheet C8.

- Note the map on Sheet C1 refers to the location by 28th Avenue West, but it should be 18th Avenue West.

Substitute the attached 2305 W. 4th Street Retaining Wall Civil Plan, Project 1308, dated May 22, 2015, for the original issued Civil Plan dated April 29, 2015.

- Plans add six pay items, remove one pay item and revise three quantities (Statement of Estimated Quantities, Plan Sheet C4),

- additional wall removal is added at west end of site (Plan sheet C6),to be paid for as Remove Retaining Wall (top 2.0’) 2104.501 and measured in lineal feet,

- wall length is shortened to 84 lineal feet on Plan Sheet C7, and

- there are changes to Section on Plan Sheet C8.

- Plan Sheet C6 and C7 omits illustration of 4 overhead power and phone lines crossing the project, going from the power pole (by 419 N. 23rd Ave. W. garage) to the houses at 2301 and 2305 West 4th Street.

Vinyl Coated Chain Link Fence Detail (Plan Sheet C5) is intended for the fence material and its mounting. The references to “exterior face of proposed retaining wall”, “proposed grade” and “proposed footing” are not applicable.

SPECIFICATIONS

Add the following: Remove Retaining Wall (2104.501) shall include saw cut of concrete wall. Said saw cut is incidental to Remove Retaining Wall.

Substitute the attached S-13	(2411)	PREFABRICATED MODULAR BLOCK WALL (PMBW) WITH AND WITHOUT SOIL 	REINFORCEMENT, dated May 22, 2015, for the original issued SP-13 SECTION 32 32 23 SEGMENTAL RETAINING WALLS dated April 29, 2015.

BID FORM EXHIBIT A

Substitute the attached Exhibit A (Addendum 2) for the original Exhibit A Schedule of Prices. This is for changed pay items and quantities in Plans.

END OF ADDENDUM