REQUEST FOR BID                                RETURN BY BID OPENING

Date  12/02/10                                 TIME TO:

BID # 11-0010                                PURCHASING DIVISION

100 City Hall

411 W 1st Street

Duluth, MN  55802

Liquid Anhydrous Ammonia                   Buyer: Dennis Sears

PHONE: (218) 730-5003

FAX:   (218) 730-5922

BID OPENING AT 2:00PM ON WEDNESDAY, DECEMBER 22, 2010

NOTE: All bids must be written, signed and transmitted in a sealed envelope,

plainly marked with the bid number, subject matter and opening date.  The City

of Duluth reserves the right to split award where there is a substantial

savings to the City, waive informalities and to reject any and all bids.

Bidder should state in proposal if bid price is based on acceptance of total

order.  Sales tax is not to be included in the unit price.  Bidder to state

freight charges if, the proposal F.O.B. is shipping point, freight not allowed.

Low bid will not be the only consideration for award of bid.  All pages shall

be signed or initialed by authorized bidder's representative as indicated at

the bottom of the page(s) of the request for bid forms.

RETURN BID IN DUPLICATE WITH DUPLICATE DESCRIPTIVE LITERATURE

FOR BID RESULTS, ENCLOSE A SELF-ADDRESSED, STAMPED ENVELOPE WITH BID.		          www.ci.duluth.mn.us/city/services/purchasing

-------------------------------------------------------------

Designated F.O.B. Point:

Water & Gas Department                       Tax: Federal Excise Tax Exemption

Lakewood Water Treatment Plant               Account No.  41-74-0056 K

8130 Congdon Blvd

Duluth, MN 55804

-------------------------------------------------------------------------------

Item    Qty  U/OM        Description                           Unit       Total

Nbr                                                            Price      Price

-------------------------------------------------------------------------------

Liquid Anhydrous Ammonia

Valid: January 1 thru December 31, 2011

001   38000 Lb   Product:  Anhydrous Ammonia, Liquid NH3  $_______ $__________

for water purification

(See additional page(s))

Vendor EMail Addr:______________________      FREIGHT CHARGES $ _______________

NAME   _________________________________      TOTAL BID PRICE $ _______________

ADDR1  _________________________________      TO INCLUDE ANY ADDITIONAL PAGES.

ADDR2  _________________________________

ADDR3  _________________________________      PAYMENT TERMS: __________________

BY:_____________________________________      F.O.B.  POINT: __________________

(Print)             Title

________________________________________      DELIVERY DATE: __________________

(Signature)            Tele #

The City of Duluth is an Equal Opportunity employer.

C I T Y   O F   D U L U T H                 Page 2 of 2

Date  12/02/10

BID # 11-0010

-------------------------------------------------------------------------------

Item    Qty  U/OM        Description                           Unit       Total

Nbr                                                            Price      Price

-------------------------------------------------------------------------------

Specification:

~~~~~~~~~~~~~~

Ammonia:      Min 99.98% by weight

Moisture:     Max  0.02% by weight

Oil:          Max 2 parts per million

Non Condens-

able Gases: Less than 0.1% by weight

Deliveries are to be made in tank trucks

approximately 4000 pounds per load as

required and pumped into owners 1000 gal

storage tank located at the Lakewood

Water Treatment Plant, 8130 Congdon Blvd

Duluth, MN for a one year period and as

directed by the Water Treatment Plant

Personnel.

Vendor to supply legal weight tickets

required with each shipment.

Material Safety Data Sheets MUST be sub-

mitted with the bid.

Price to:

1) include all delivery charges

2) remain firm 1/1 - 12/31/2011

Delivery Contact: Lakewood Water Treatment

Plant, 218/525-0834

NOTE: This purchase will be valid upon

City of Duluth Council passage of

the 2011 budget and 30 day waiting

period as required by ordinance.

PO may not be issued until January

and notification will be by vendor

providing SASE for bid tabulation.

___________

(Initial)