## Pricing (2)
Liebert Datacenter UPS
Description | Qty
45kVA/45kW Liebert APM Three Phase Uninterruptible Power Supply | 1
AccuVar TVSS | 1
Liebert Racks
Description | Qty
Five Liebert Knurr DCM Cabinets | 1
DK6C1200000 | 4
DK6C1220000 | 1
1U Plastic Tool less Blanking Panel (pack of 10) | 2
2U Plastic Tool less Blanking Panel (pack of 5) | 10
Tool Less Lobster Claws - pack of 100 | 1
Tool Less Velcro Strips - pack of 100 | 1
Liebert and Baytech PDUs
Description | Qty
BayTech Six (6) NEMA 5-20R, Thirty (30) IEC320 C13R, Zero U | 10
4 IEC-C19 receptacles, 30amp L6-30P locking input | 2
Rack PDU Basic Display module | 1
Baytech Temp Probe | 1
Liebert IDF UPS
Description | Qty
1500 VA/1350 Watts Capacity UPS | 2
IntelliSlot Web Card | 2
Center-mount bracket for 19 inch Telecom/relay rack | 2