## Sheet1
Bid Tabulation
Job No.: 0904GS (High Pressure Gas Mains and Services at Various City Locations)
Bid No.: 11-0290
|  |  | Bid Date: April 27, 2011 | NPL |  | Michels |  | KS Energy
|  |  |  | Construction Co. |  | Corporation |  | Services, LLC
Item | Qty. | U/ | Item | Unit | Total | Unit | Total | Unit | Total
No. |  | OM |  | Price | Price | Price | Price | Price | Price
1 | 1 | LS | Mobilization | 0 | 0 | 10000 | 10000 | 42500 | 42500
2 | 1500 | Lin Ft | Remove PE Gas Main | 1.85 | 2775 | 7 | 10500 | 27 | 40500
3 | 500 | Lin Ft | Remove Steel Gas Main Less Than 6" | 4.96 | 2480 | 10 | 5000 | 35 | 17500
4 | 800 | Lin Ft | Remove Steel Gas Main 6" and Larger | 5.6 | 4480 | 16 | 12800 | 47 | 37600
5 | 30 | Cu Yd | Granular Backfill (LV) | 15.9 | 477 | 40 | 1200 | 38.5 | 1155
6 | 15 | Cu Yd | Boulder Excavation (Trench) | 51.94 | 779.1 | 60 | 900 | 67 | 1005
7 | 15 | Cu Yd | Rock Excavation (Trench) | 210 | 3150 | 245 | 3675 | 250 | 3750
8 | 50 | Each | Building Inspection | 65 | 3250 | 150 | 7500 | 240 | 12000
9 | 20 | Each | Televising of Sanitary or Storm Sewer Lateral | 140 | 2800 | 250 | 5000 | 300 | 6000
10 | 15 | Each | Location of Sanitary or Storm Sewer Lateral by Sonde Method | 190 | 2850 | 250 | 3750 | 260 | 3900
11 | 15 | Each | Excavation for Potholing Sanitary or Storm Sewer Lateral, 0' - 7' Deep | 275 | 4125 | 250 | 3750 | 600 | 9000
12 | 10 | Each | Excavation for Potholing Sanitary or Storm Sewer Lateral, 7' - 10' Deep | 325 | 3250 | 500 | 5000 | 750 | 7500
13 | 4 | Each | Furnish & Install Meter Connections (Size Less than 400 CFH) | 670 | 2680 | 650 | 2600 | 625 | 2500
14 | 4 | Each | Furnish & Install Meter Connections (Size 400 CFH or Greater) | 670 | 2680 | 800 | 3200 | 860 | 3440
15 | 3 | Each | Furnish & Install 3" PE Valve & Valve Box (No Excavation) | 315 | 945 | 500 | 1500 | 525 | 1575
16 | 12 | Each | Furnish & Install 2" PE Valve & Valve Box (No Excavation) | 275 | 3300 | 350 | 4200 | 450 | 5400
17 | 6 | Each | Furnish & Install 1" PE Valve & Valve Box (No Excavation) | 213 | 1278 | 250 | 1500 | 325 | 1950
18 | 10 | Each | Reconnect Existing 1/2" PE Services to New Main | 244 | 2440 | 425 | 4250 | 500 | 5000
19 | 5 | Each | Excavation for Cut-Off of HP Gas Main or Gas Service (Dept. to F&I | 381 | 1905 | 610 | 3050 | 745 | 3725
Cut-Off Materials)
20 | 200 | Each | Excavation for Connecting HP Gas Service to Gas Main or Connecting | 435 | 87000 | 610 | 122000 | 640 | 128000
New HP Gas Main to Existing Gas Main
21 | 2 | Each | Emergency Repair of Gas Line | 1900 | 3800 | 2650 | 5300 | 3400 | 6800
22 | 800 | Lin Ft | Furnish & Install 8" PE Gas Main with Granular Encasement | 25.5 | 20400 | 58 | 46400 | 58 | 46400
23 | 200 | Lin Ft | Furnish & Install 8" PE Gas Main by Horizontal Directional Drill | 34 | 6800 | 60 | 12000 | 72 | 14400
24 | 300 | Lin Ft | Furnish & Install 6" PE Gas Main with Granular Encasement | 20 | 6000 | 44 | 13200 | 51 | 15300
25 | 300 | Lin Ft | Furnish & Install 6" PE Gas Main by Horizontal Directional Drill | 31.8 | 9540 | 50 | 15000 | 63 | 18900
26 | 1500 | Lin Ft | Furnish & Install 3" PE Gas Main | 15.37 | 23055 | 17.5 | 26250 | 27.5 | 41250
27 | 2000 | Lin Ft | Furnish & Install 3" PE Gas Main or Service by Horizontal Directional | 20.14 | 40280 | 22.5 | 45000 | 36.5 | 73000
Drill
28 | 4000 | Lin Ft | Furnish & Install 2" PE Gas Main | 12.72 | 50880 | 15 | 60000 | 18 | 72000
29 | 2000 | Lin Ft | Furnish & Install 2" PE Gas Main by Horizontal Directional Drill | 19.08 | 38160 | 15 | 30000 | 24 | 48000
30 | 2000 | Lin Ft | Furnish & Install 1" PE Gas Main | 11.13 | 22260 | 12.5 | 25000 | 15 | 30000
31 | 200 | Lin Ft | Furnish & Install 1" PE Gas Service | 11.13 | 2226 | 15 | 3000 | 14 | 2800
32 | 600 | Lin Ft | Furnish & Install 1" or 1/2" PE Gas Main or Service by Horizontal
|  |  | Directional Drill | 14.84 | 8904 | 15 | 9000 | 20 | 12000
33 | 7000 | Lin Ft | Furnish & Install 1/2" PE Gas Service | 9.01 | 63070 | 10 | 70000 | 11 | 77000
34 | 450 | Sq Ft | Remove Concrete Pavement/Driveway | 4.5 | 2025 | 6.5 | 2925 | 6 | 2700
35 | 220 | Sq Yd | Remove Bituminous Pavement | 13.5 | 2970 | 20 | 4400 | 5 | 1100
36 | 40 | Lin Ft | Sawing Concrete Pavement - Full Depth | 3.8 | 152 | 8 | 320 | 8.5 | 340
37 | 400 | Lin Ft | Sawing Bituminous Pavementy - 4" Depth | 2.9 | 1160 | 5 | 2000 | 2.25 | 900
38 | 50 | Sq Yd | Concrete Base, Irregular Width 3032HE (7") | 130 | 6500 | 80 | 4000 | 38.5 | 1925
39 | 60 | Cu Yd | Aggregate Base, Class 5 (LV) | 39 | 2340 | 50 | 3000 | 26.5 | 1590
40 | 50 | Ton | Type SP 12.5 Wearing Course Mixture (3,B) | 80 | 4000 | 150 | 7500 | 31 | 1550
41 | 5 | Cu Yd | Boulder Excavation (Trench) | 49 | 245 | 60 | 300 | 67 | 335
42 | 5 | Cu Yd | Rock Excavation (Trench) | 136 | 680 | 245 | 1225 | 250 | 1250
43 | 4 | Each | Excavation for Connection New HP Gas Main to Existing Gas Main | 435 | 1740 | 610 | 2440 | 860 | 3440
44 | 1 | Each | Furnish & Install 2" PE Valve & Valve Box (No Excavation) | 477 | 477 | 350 | 350 | 450 | 450
45 | 290 | Lin Ft | Furnish & Install 8" PE Gas Main with Granular Encasement | 25.5 | 7395 | 58 | 16820 | 58 | 16820
46 | 201 | Lin Ft | Furhish & Install 2" PE Gas Main | 12.72 | 2556.72 | 15 | 3015 | 18 | 3618
47 | 1 | LS | Traffic Control | 480 | 480 | 10000 | 10000 | 14000 | 14000
|  |  | TOTALS |  | 460739.82 |  | 629820 |  | 841868