REQUEST FOR BID        RETURN BY OPENING TIME TO:

Date: 07/13/11    	   Purchasing Division

Bid 11-29DS            RM 100 City Hall

411 West 1st Street

Duluth, MN 55802

Police Headquarters Lab Equipment

Buyer: Dennis Sears

Phone: 218-730-5003

Fax:   218-730-5922

BID OPENING, RM 100 AT 2:00 PM ON THURSDAY, AUGUST 4, 2011

Note: All bids must be written, signed, and transmitted in a sealed envelope, plainly marked with the bid number, subject matter, and opening date. The City of Duluth reserves the right to split award where there is substantial savings to the city, waive informalities and to reject any and all bids. Sales tax is not to be included in the unit price. Bidder to state freight charges if, proposal is F.O.B. shipping point, freight not allowed. Low bid will not be the only consideration for award of bid. All pages must be signed or initialed by authorized bidder’s representative as indicated at the bottom of the page(s) of the request for bid.

OFFICIAL SEALED BID

Designated F.O.B. Point

Tax: Federal Excise Tax Exemption

Account No. 41-74-0056 K

----------------------------------------------------------------------

Item   Qty   U/OM          Description                 Unit     Total

No.                                                   Price    Price

----------------------------------------------------------------------

Please provide quotes for Police

Headquarters forensics lab

equipment and furniture per the

attached specifications and drawings.

Vendor E-mail Address_________________________ Freight Charges   FOB

Name____________________                     Total Bid Price ________

(To include any additional pages)

Addr____________________

____________________

____________________                     Payment Terms ___________

F.O.B. Point  Duluth

By:_______________________

(print title)

__________________________                   Delivery Date  __________

(signature)    (tele#)

All lot prices to include testing (as specified), applicable taxes, delivery and handling.  The City of Duluth reserves the right to inquire about other pricing available for different models one the bid selection is made.

Bidders are to supply all back-up information on products bid,  including product data, installation instructions, operational and maintenance information and warranty.

Bidders are to supply information and cost for any offered accessories or options on each product bid that are not part of the specifications and Lot bids provided.  The City of Duluth reserves the right to add accessories or options to the low Lot bids as afforded.

A floor plan is provided for location of equipment in the new City of Duluth Police Department Headquarters building, currently under construction.

Lot #1:  Downflow Workstation

Ductless Downflow Workstations per attached specifications.

Base Manufacturer:  Air Science

Approved Manufacturer:  Labconco (Protector Series)

Product(s)

Installation

Total Cost

Warranty period	Year(s)

Lot #2:  Utility Tables

Utility Lab Tables per attached specifications.

Base Manufacturer:  Thermo Scientific Hamilton

Approved Manufacturer:  Mott Manufacturing

Product(s)

Installation

Total Cost

Warranty period	Year(s)

initials

Lot #3:  Forensics Cabinet

Forensics Cabinet per attached specifications.

Base Manufacturer:  Thermo Scientific Hamilton

Approved Manufacturer:  Labconco (Protector Series)

Product(s)

Installation

Total Cost

Warranty period	Year(s)

Lot #4:  Fume Hood

Fume Hood, work surface and base cabinets per attached specifications.

Base Manufacturer:  Thermo Scientific Hamilton

Approved Manufacturer:  Labconco (Protector Series)

Product(s)

Installation

Total Cost

Warranty period	Year(s)

Lot #5:  Evidence Drying Cabinets

Drying Cabinets per attached specifications.

Base Manufacturer:  Air Science

Approved Manufacturer:  Labconco (Protector Series)

Product(s)

Installation

Total Cost

Warranty period	Year(s)

Total All Lots

(carry to front page)

initials

If bidding other than specified base manufacturer and product, please provide complete product data from the manufacturer illustrating compliance with technical specifications and supply contact information for two similar users of the product(s) submitted.  The City of Duluth will determine if substituted product equally meets function, quality and warranty as designated product.  Further documentation may be requested from Bidder. The City reserves the right to contact the references provided for additional information.

Approved Bidder(s) will provide and install all products, perform tests to make sure equipment is in working order, remove any packing or debris from the site after installation and provide warranty service as needed per the terms of the accepted warranty.

Questions regarding any lots should be directed to: Lt. Kerry Kolodge at 218-730-5639.

Questions pertaining to the bid documents should be directed to: Dennis Sears, Purchasing Agent, at 218-730-5003.

CSI LAB EQUIPMENT SPECIFICATIONS

LOT #1 - DUCTLESS DOWNFLOW WORKSTATION

In Evidence Processing C148: Provide and install one (1) portable ductless fume hood with electronic low airflow monitoring and alarm.  White epoxy coated steel frame and head unit with blue trim, perforated stainless steel worksurface with polypropylene spill tray underneath, electronic control panel, and as follows:

Manufacturer: 	Air Science (800-306-0677)

Product: 	Ductless Downflow Workstations (DWS)

Web Site:	www.airscience.com/56

Model No.:	DWS48

Internal Ht.:	15.75 inches (400 mm)

External Size:	48"x22.75"x31.5" (1220X580X800 mm)

Weight:	185 lbs (84 kg)

Airflow:	435 CFM

Face Velocity:	80 FPM

Noise:	< 52 dBA (1 meter)

Lighting:	Compact fluorescent

Blower:	Centrifugal fan

Electrical:	120V, 60Hz

Monitoring:	Low airflow alarm

Pre-Filter:	Electrostatic, 1 lbs (0.45 kg), nominal

Main Filter:	HEPA/UPLA (powders and particulates)

LOT #2 - UTILITY TABLES

Location as indicated below. Provide and install four (4) utility tables of various sizes with epoxy resin tops.

Table frames, 4 1/2" high, formed into  C-channel shape. Table frames and bottom shelf rails 11-gauge cold rolled steel tubing, welded using the inert gas process (resistance welded).  Chemical resistant powder paint finish; color to be selected by Owner from manufacturer's standard colors.

Epoxy resin top chemical and abrasion resist one inch thick cast material of epoxy resins and inert products; cast flat, with a uniform non-glare black matte finish.

Manufacturer: 	Thermo Scientific Hamilton

Product:	Max Mobile Tables

Web Site:	www.hamiltonlab.com/fisherhamilton/products

Model:	Mobile Tables

Style:	Four-Leg Adjustable-Height Table Frames

- With Locking Casters

- Leg height adjusts easily with minimal tools.

Height:	Adjustable from 31" to 40-3/8"

Materials:	Sheet steel, cold-rolled furniture stock

Minimum Loads:	300 lbs (four legged)

Worksurfaces:	Epoxy Resin

Thickness:	1 inch

Color:	Black

Edges:	Square

Drawers:	Suspended Pencil Drawer; Steel drawer, sloped front with full-width drawer pull, nylon-tired ball-bearing rollers.

Size:	23"W x 21"D x 2"H nominal

Table #1 - Property and Evidence Storage C151

Provide one (1) table thus:

Size:	54 x 72 inches

Drawer:	(2) Pencil Drawers (1 drawer each side)

Shelf:	Provide steel shelf below

Table #2 & #3 - Evidence Processing C148

Provide two (2) tables thus:

Size:	54x72 inches

Drawer:	(2) Pencil Drawers (1 drawer each side)

Table #4 - Evidence Processing C148

Provide one (1) table thus:

Size:	30x60 inches

Drawer:	(2) Pencil Drawers (1 drawer each side)

Shelf:	Provide steel shelf below

LOT #3 - FORENSICS CABINET

In Evidence Processing C148: Provide and install one (1) forensics cabinet per the attached specification section 01 0110 Summary of Work and as follows:

Cabinet to have three separate fuming chambers of various sizes to allow separate fuming processes concurrently.  Each chamber shall be dampered, lockable with padlock hasp, and glazed.  Chambers shall have v-strip sealed doors to minimize airflow during fuming process.  Each compartment shall include a vapor-proof incandescent light and access to 110 volt AC receptacles with power cord pass through. Unit is pre-wired to central junction box located on top of cabinet.

Construction shall be 45 pound density particle board core with doweled joinery.  Wilsonart Chemsurf chemical resistant plastic laminate interior and high-pressure plastic laminate exterior.

Each unit shall contain a test report verifying proper containment with the chamber closed.  Test shall be based on ASHRAE 110-1995 methodology.  Containment must be 4.0 AM 0.05 PPM or better.  Vent outlet extends 3 1/2" above top of cabinet at rear.

Hanging rods are provided in each chamber and shelves are provided in the large chamber, and as follows:

Manufacturer: 	Thermo Scientific Hamilton

Product:	Forensics Cabinet

Web Site:	www.hamiltonlab.com/fisherhamilton/products

Model:	Floor Mounted Unit

Model No.:	950P201GY

Capacity:	31 Cubic Feet

Exhaust Vol.:	31 CFM

Exhaust Collar

Diameter:	2 inches I.D.

Weight:	395 lbs

Int HPL Color:	D354 White

Ext HPL Color:	1500N Gray

LOT #4 - FUME HOOD

In Evidence Processing C148: Provide and install one (1) ducted bench fume hood, worksurface and base cabinets per the attached specification section 01 0110 Summary of Work and section 11 6100 Laboratory Fume Hoods.  Location indicated on attached floor plan drawing.

Manufacturer: 	Thermo Scientific Hamilton

Product: 	SafeAire II Fume Hood

Web Site:	www.hamiltonlab.com/fisherhamilton/products

LOT #5 - DRYING CABINETS

In Evidence Garage B106: Provide and install one (1) each ductless forensic evidence downflow drying cabinets with single dynamic filtration chamber, electronic control panel, exterior hose connection to connect to external water supply, OSHA labeled waste water container in locking compartment, and inter-filter test port.  White epoxy coated steel frame with blue metal framed tempered glass door, removable stainless steel hanging rod with anti-slide cover, (2) polypropylene shelves with drain channels, security key to filter access door, non-marking heavy-duty caster wheels, and as follows:

Manufacturer: 	Air Science (800-306-0677)

Product: 	Safekeeper Downflow Forensic Evidence Drying Cabinets (FDC)

Web Site:	www.airscience.com/70

Drying Cabinet #1:

Model No.:	FDC-006GL

Nominal Width:	36 inches (914 mm)

External Size:	36"x27.75"x73" (914x705x1854 mm)

Weight:	229 lbs (104 kg)

Drying Cabinet #2:

Model No.:	FDC-007GL

Nominal Width:	48 inches (1219 mm)

External Size:	48"x27.75"x73" (1219x705x1854 mm)

Weight:	403 lbs (183 kg)

Controller:	Microprocessor controller

(Air Science Monitair® Controller)

Face Velocity:	120-180 FPM

Blower:	High-velocity centrifugal fan (sparkless and brushless)

Monitoring:	Low airflow alarm (audio and visual)

Lighting:	Internal fluorescent lamp in vapor proof housing

Electrical:	110V, 60Hz single phase

Pre-Filters:	Electrostatic door and pre-evidence filters

Main Filter:	Electrostatic, HEPA/ULPA and activated carbon (post-evidence)

(Air Science Multi-plex™ Filtration System)